## Weekly Demand - Initial
Calculations of water use for water-efficient landscaped area
Weighted Plant Factor = | 0.8
Size of landscaped area = | 25000 | sq. ft
Irrigation Efficiency = | 0.7
Landscape Type | Plant Factor (PF) | Area for each landscape type (ft2) | % of yard in each landscape type | Weighted PF for each landscape type = PF x % of area | Week | Date | ETOS Grass Total (in) | Rain (in) | Weekly Landscape ET, ETL (in) | Irrigation demand (in) | Irrigation demand (ft3) | Irrigation demand (gal)
Turf grass | 0.8 | 25000 | 100 | 0.8 | 1 | Week of 4/28/2013 | 1.1249 | - | 0.89992 | #VALUE! | #VALUE! | #VALUE!
Moderate water use plants | 0.6 |  |  |  | 2 | Week of 5/5/2013 | 1.1303 | - | 0.90424 | #VALUE! | #VALUE! | #VALUE!
Low water use plants | 0.4 |  |  |  | 3 | Week of 5/12/2013 | 1.1525 | - | 0.922 | #VALUE! | #VALUE! | #VALUE!
Very low water use plants | 0.2 |  |  |  | 4 | Week of 5/19/2013 | 1.1679 | - | 0.93432 | #VALUE! | #VALUE! | #VALUE!
TOTAL |  |  |  |  | 5 | Week of 5/26/2013 | 1.44 | 0.14 | 1.152 | 1.4457 | 3011.9048 | 22530.6138
[5 empty] | 6 | Week of 6/2/2013 | 1.52 | 0.35 | 1.216 | 1.2371 | 2577.381 | 19280.1498
[5 empty] | 7 | Week of 6/9/2013 | 1.6442 | - | 1.3154 | #VALUE! | #VALUE! | #VALUE!
[5 empty] | 8 | Week of 6/16/2013 | 1.8661 |  | 1.4929 | 2.1327 | 4443.0952 | 33236.6628
[5 empty] | 9 | Week of 6/23/2013 | 1.6773 | 0.61 | 1.3418 | 1.0455 | 2178.0952 | 16293.285
[5 empty] | 10 | Week of 6/30/2013 | 1.61 | - | 1.288 | #VALUE! | #VALUE! | #VALUE!
[5 empty] | 11 | Week of 7/7/2013 | 1.5485 | 0.55 | 1.2388 | 0.984 | 2050 | 15335.066
[5 empty] | 12 | Week of 7/14/2013 | 1.3721 | 0.21 | 1.0977 | 1.2681 | 2641.9048 | 19762.8214
[5 empty] | 13 | Week of 7/21/2013 | 1.5792 | 0.34 | 1.2634 | 1.3191 | 2748.0952 | 20557.1814
[5 empty] | 14 | Week of 7/28/2013 | 1.3972 | - | 1.1178 | #VALUE! | #VALUE! | #VALUE!
[5 empty] | 15 | Week of 8/4/2013 | 1.7427 | 0.11 | 1.3942 | 1.8345 | 3821.9048 | 28589.835
[5 empty] | 16 | Week of 8/11/2013 | 1.5056 | 0.05 | 1.2045 | 1.6493 | 3435.9524 | 25702.7105
[5 empty] | 17 | Week of 8/18/2013 | 1.449 | 0.54 | 1.1592 | 0.88457 | 1842.8571 | 13785.5297
[5 empty] | 18 | Week of 8/25/2013 | 1.1155 | 0.72 | 0.8924 | 0.24629 | 513.0952 | 3838.2192
[5 empty] | 19 | Week of 9/1/2013 | 0.9956 | - | 0.79648 | #VALUE! | #VALUE! | #VALUE!
[5 empty] | 20 | Week of 9/8/2013 | 1.0381 | 0.53 | 0.83048 | 0.42926 | 894.2857 | 6689.7222
[5 empty] | 21 | Week of 9/15/2013 | 0.7449 | 0.56 | 0.59592 | 0.051314 | 106.9048 | 799.7032
[5 empty] | 22 | Week of 9/22/2013 | 1.0923 | - | 0.87384 | #VALUE! | #VALUE! | #VALUE!
[5 empty] | 23 | Week of 9/29/2013 | 0.71 | - | 0.568 | #VALUE! | #VALUE! | #VALUE!
[6 empty] | Total for Growing Season | 30.6239 | 4.71 | 24.4991 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
#VALUE!
#VALUE!

## Monthly Demand - Initial
Calculations of water use for water-efficient landscaped area
Weighted Plant Factor = | 0.8
Size of Landscaped Area = | 25000 | sq. ft
Irrigation Efficiency = | 0.7
Landscape Type | Plant Factor (PF) | Area for each landscape type (ft2) | % of yard in each landscape type | Weighted PF for each landscape type = PF x % of area | Week | Date | ETOS Grass Total (in) | Rain (in) | Monthly Landscape ET, ETL (in) | Irrigation demand (in) | Irrigation demand (ft3) | Irrigation demand (gal)
Turf grass | 0.8 | 25000 | 100 | 0.8 | 1 | May | 4.8907 | 0.14 | 3.9126 | 5.3894 | 11227.8571 | 83990.2099
Moderate water use plants | 0.6 |  |  |  | 2 | June | 8.3176 | 0.96 | 6.6541 | 8.1344 | 16946.6667 | 126769.8789
Low water use plants | 0.4 |  |  |  | 3 | July | 5.897 | 1.1 | 4.7176 | 5.168 | 10766.6667 | 80540.2653
Very low water use plants | 0.2 |  |  |  | 4 | August | 5.8128 | 1.42 | 4.6502 | 4.6146 | 9613.8095 | 71916.2944
TOTAL |  |  |  |  | 5 | September | 4.5809 | 1.09 | 3.6647 | 3.6782 | 7662.8571 | 57322.1561
[6 empty] | Total for Growing Season | 29.499 | 4.71 | 23.5992 | 26.9846 | 56217.8571 | 420538.8047

## Weekly Demand - Final
Calculations of water use for water-efficient landscaped area
Weighted Plant Factor = | 0.8
Size of landscaped area = | 25000 | sq. ft
Irrigation Efficiency = | 0.7
Landscape Type | Plant Factor (PF) | Area for each landscape type (ft2) | % of yard in each landscape type | Weighted PF for each landscape type = PF x % of area | Week | Date | ETOS Grass Total (in) | Rain (in) | Weekly Landscape ET, ETL (in) | Irrigation demand (in) | Irrigation demand (ft3) | Irrigation demand (gal)
Turf grass | 0.8 | 6250 | 25 | 0.2 | 1 | Week of 4/28/2013 | 1.1249 | 0 | 0.41621 | 0.59459 | 1238.7292 | 9266.3383
Moderate water use plants | 0.6 | 0 | 0 | 0 | 2 | Week of 5/5/2013 | 1.1303 | 0 | 0.41821 | 0.59744 | 1244.6756 | 9310.8207
Low water use plants | 0.4 | 2500 | 10 | 0.04 | 3 | Week of 5/12/2013 | 1.1525 | 0 | 0.42643 | 0.60918 | 1269.122 | 9493.6927
Very low water use plants | 0.2 | 16250 | 65 | 0.13 | 4 | Week of 5/19/2013 | 1.1679 | 0 | 0.43212 | 0.61732 | 1286.0804 | 9620.5498
TOTAL |  |  |  |  | 5 | Week of 5/26/2013 | 1.44 | 0.14 | 0.5328 | 0.56114 | 1169.0476 | 8745.0841
[5 empty] | 6 | Week of 6/2/2013 | 1.52 | 0.35 | 0.5624 | 0.30343 | 632.1429 | 4728.7573
[5 empty] | 7 | Week of 6/9/2013 | 1.6442 | 0 | 0.60835 | 0.86908 | 1810.5774 | 13544.0603
[5 empty] | 8 | Week of 6/16/2013 | 1.8661 |  | 0.69046 | 0.98637 | 2054.9315 | 15371.9565
[5 empty] | 9 | Week of 6/23/2013 | 1.6773 | 0.61 | 0.6206 | 0.015144 | 31.5506 | 236.0149
[5 empty] | 10 | Week of 6/30/2013 | 1.6129 | 0 | 0.59677 | 0.85253 | 1776.1101 | 13286.2273
[5 empty] | 11 | Week of 7/7/2013 | 1.5485 | 0.55 | 0.57295 | 0.032779 | 68.2887 | 510.8349
[5 empty] | 12 | Week of 7/14/2013 | 1.3721 | 0.21 | 0.50768 | 0.42525 | 885.9435 | 6627.3177
[5 empty] | 13 | Week of 7/21/2013 | 1.5792 | 0.34 | 0.5843 | 0.34901 | 727.0952 | 5439.0505
[5 empty] | 14 | Week of 7/28/2013 | 1.3972 | 0 | 0.51696 | 0.73852 | 1538.5833 | 11509.4034
[5 empty] | 15 | Week of 8/4/2013 | 1.7427 | 0.11 | 0.6448 | 0.764 | 1591.6637 | 11906.4721
[5 empty] | 16 | Week of 8/11/2013 | 1.5056 | 0.05 | 0.55707 | 0.72439 | 1509.1429 | 11289.1733
[5 empty] | 17 | Week of 8/18/2013 | 1.449 | 0.54 | 0.53613 | -0.0055286 | -11.5179 | -86.1596
[5 empty] | 18 | Week of 8/25/2013 | 1.1155 | 0.72 | 0.41274 | -0.43895 | -914.4792 | -6840.7797
[5 empty] | 19 | Week of 9/1/2013 | 0.9956 | 0 | 0.36837 | 0.52625 | 1096.3452 | 8201.2325
[5 empty] | 20 | Week of 9/8/2013 | 1.0381 | 0.53 | 0.3841 | -0.20843 | -434.2351 | -3248.3045
[5 empty] | 21 | Week of 9/15/2013 | 0.7449 | 0.56 | 0.27561 | -0.40627 | -846.3899 | -6331.4364
[5 empty] | 22 | Week of 9/22/2013 | 1.0923 | 0 | 0.40415 | 0.57736 | 1202.8304 | 8997.7965
[5 empty] | 23 | Week of 9/29/2013 | 0.7069 | 0 | 0.26155 | 0.37365 | 778.4315 | 5823.0728
[6 empty] | Total for Growing Season | 30.6237 | 4.71 | 11.3308 | 9.4582 | 19704.6696 | 147401.1754 | 29480.2351

## Monthly Demand - Final
Calculations of water use for water-efficient landscaped area
Weighted Plant Factor = | 0.8
Size of Landscaped Area = | 25000 | sq. ft
Irrigation Efficiency = | 0.7
Landscape Type | Plant Factor (PF) | Area for each landscape type (ft2) | % of yard in each landscape type | Weighted PF for each landscape type = PF x % of area | Week | Date | ETOS Grass Total (in) | Rain (in) | Monthly Landscape ET, ETL (in) | Irrigation demand (in) | Irrigation demand (ft3) | Irrigation demand (gal)
Turf grass | 0.8 | 6250 | 25 | 0.2 | 1 | May | 4.8907 | 0.14 | 1.8096 | 2.3851 | 4968.9256 | 37170.1473
Moderate water use plants | 0.6 | 0 | 0 | 0 | 2 | June | 8.3205 | 0.96 | 3.0786 | 3.0266 | 6305.3125 | 47167.0163
Low water use plants | 0.4 | 2500 | 10 | 0.04 | 3 | July | 5.897 | 1.1 | 2.1819 | 1.5456 | 3219.9107 | 24086.6065
Very low water use plants | 0.2 | 16250 | 65 | 0.13 | 4 | August | 5.8128 | 1.42 | 2.1507 | 1.0439 | 2174.8095 | 16268.7061
TOTAL |  |  |  |  | 5 | September | 4.5778 | 1.09 | 1.6938 | 0.86255 | 1796.9821 | 13442.3609
[6 empty] | Total for Growing Season | 29.4988 | 4.71 | 10.9146 | 8.8637 | 18465.9405 | 138134.8371

## Cost Calculations
Per Month Billing turf grass | #VALUE!
Per Month Billing Landscaped | 88.4407
Total Landscape area changed | 18750 | sq. ft.
Cost per sq ft | 1 | $
Total Cost | 18750 | $
Per Month Billing turf grass | #VALUE! | $
Per Month Billing Landscaped | 88.4407 | $
Saving per monnth | 614 | $
Number of months to recover | 30.5375 | months
Number of years | 2.5448 | years